# General

## SUMMARY

### Hard-Cem™ Integral Hardening Admixture used to increase the abrasion and erosion resistance of concrete. The admixture is added to the concrete at the time of batching and increases the hardness of the concrete and extends concrete wear life. It outperforms and overcomes deficiencies of labor intensive surface applied hardeners, and can be used to enhance durability of both air-entrained and non-air-entrained concretes. Since it is integral, Hard-Cem can be used to harden horizontal, vertical or inclined concrete and shotcrete surfaces.

## SECTION INCLUDES

### Hard-Cem: Integral hardening admixture used to increase abrasion and erosion resistance of concrete.

## RELATED SECTIONS

### Section 033500: Concrete Finishing

### Section 033700: Concrete Curing

### Section 033513: High-Tolerance Concrete Floor Finishing

### Section 033516: Heavy-Duty Concrete Floor Finishing

### [Section 03 01 30 - Maintenance of Cast-in-Place Concrete: Patching compounds for substrate repair.]

## REFERENCES

### The following agencies and standards are applicable to this section.

#### American Concrete Institute (ACI)

#### American Society Testing and Materials (ASTM).

#### Canadian Standards Association (CSA).

## PERFORMANCE REQUIREMENTS

### Abrasion Resistance:

#### Resistance to Mass Loss will be improved by 2.9 times when tested against untreated concrete following ASTM C627 using steel wheels for 5000 revolutions on 28-day old concrete.

#### Resistance to Abraded Wear Depth will be improved by 2.0 times when tested against untreated concrete when tested to ASTM C779 Procedure C (steel ball bearings) on 28-day old concrete.

### Impact Resistance – Resistance to chipping impact will be improved by 1.6 times when tested against untreated concrete using a Los Angeles Abrasion Machine (rotating steel drum with a charge of abrasive steel balls, 500 revolutions) on 28-day old concrete.

### Compressive Strength: Treated concrete must have compressive strength equal or higher than plain concrete when tested to ASTM C39/C39M at 28 days.

### Freeze-Thaw/Scaling: For applications with exposure to freezing weather and/or deicing salts, the integral hardening admixture must show compatibility with air entrained concrete and show no loss of protection when tested to ASTM C666 (300 cycles) and ASTM C672 (50 cycles).

## SUBMITTALS FOR REVIEW

### Product Data: Provide technical data certifying compliance with specified performance requirements, storage and handling recommendations.

## QUALITY ASSURANCE

### Perform Work in accordance with [ACI 301][CSA-A23.1/A23.2].

### Conform to [ACI 305R] [CSA-A23.1/A23.2] when concreting during hot weather.

### Conform to [ACI 306R] [CSA-A23.1/A23.2] when concreting during cold weather.

### Testing: The following data must be recorded to comply with the manufacturer’s warranty requirements:

#### Slump using CAN/CSA A23.3-5C or ASTM C143.

#### Air content using CAN/CSA A23.2-4C or ASTM C231.

#### Temperature of concrete and of ambient air.

#### Time of batching, testing and placement.

#### Cylinders: Take compressive test cylinders from each load tested or as called for in the job specifications.

## DELIVERY, STORAGE, AND PROTECTION

### Section [01 61 00]: Transport, handle, store, and protect products.

### Comply with manufacturers ordering instructions and lead time to avoid construction delays.

### Deliver in original, unopened, undamaged containers, with manufacturer's identification labels intact to the concrete batching plant.

### Store materials in dry environment until ready to use.

## PROJECT CONDITIONS

### Structural Design: The concrete structure shall be designed to meet local building codes and in addition shall be designed to minimize and control any occurrence of cracks within the concrete mass. Follow ACI 224R and ACI 301 regarding the placement of reinforcement and crack control joints.

### Weather Conditions:

#### For mixing, transporting and placing concrete under conditions of high temperature or low temperature, follow ACI 305R (Hot Weather Concreting) and ACI 306R (Cold Weather Concreting).

#### For flatwork being placed in hot, dry or windy conditions, surface humidity must be maintained by fogging or use of monomolecular film (evaporation retardant).

# Products

## MANUFACTURERS

### Kryton International Inc. Toll Free: 1.800.267.8280 E-mail: [info@kryton.com](mailto:info@kryton.com) Website: [www.kryton.com](http://www.kryton.com)

### Substitutions: Not permitted

## MATERIALS

### Hard-Cem: Integral Concrete Hardener supplied in a dry powdered form and added to the concrete mix at the time of batching.

#### Dosage: Add Hard-Cem to concrete or shotcrete at a dosage rate of <40 kg/m3><<66 lb./yd3>> displacing an equal weight of sand to maintain proper mix proportions and water demand. For specialized applications such as screed or topping mixes, consult Kryton’s Technical Services for a dosage recommendation.

#### Mixing: Mix in accordance with the manufacturer’s instructions. Add unopened pulp-able bags into the wet concrete and ensure sufficient wetting, mixing and dispersion within the concrete mix. Observe concrete discharge to verify full bag disintegration and no visible sign of bag fragments in the concrete.

# Execution

## APPLICATION

Edit this article to include placing, finishing and curing practices appropriate for the intended use.

### Apply integral hardening admixture to concrete mix at concrete batch facility in accordance with manufacturer’s written instructions and approved test batches.

#### Batching and mixing of materials shall be in accordance with ASTM C94/C94M

### Placing Concrete: Refer to Section 03 30 00, supplemented as follows:

#### Place concrete in accordance with [CSA-A23.1/A23.2.][ACI-302.1R-96]

#### Consolidate concrete in accordance with [ACI 309R][ ACI-302.1R-96]

#### Finish concrete in accordance with [ACI-302.1R-96]

### Curing: Cure in accordance with Section 03 30 00, supplemented as follows:

#### Wet cure waterproof concrete [to ACI 308.1] using fog mist spray, sprinkler or wet burlap for 3 to 7 days. Alternatively; use curing compound conforming to ASTM C309.

## PROTECTION OF FINISHED WORK

### Section [01 78 40]: Protecting installed work.

### Protect finished concrete surfaces from damage and keep free of traffic and loads for a minimum of seven days after placement.

END OF SECTION

The preceding specifications are provided by Kryton International Inc. as a guide and are not intended to replace sound engineering practice and judgment and should not be relied upon for that purpose. Kryton makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications. Kryton assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such specifications. KRYTON SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS. The specifier, architect, engineer or design professional or contractor for any particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application. Prior to each use of any Kryton product, the user must always read and follow the warnings and instructions on the product’s most current Technical Data Sheet, Application Instruction, product label and Safety Data Sheet which are available online at <http://www.kryton.com> or by contacting an authorized Kryton Representative. Nothing contained in any Kryton document relieves the user of the obligation to read and follow the warnings and instruction for each Kryton product as set forth in the current literature prior to use.