This section includes Krystol Broadcast, a crystalline waterproofing powder applied to the surface of freshly placed concrete during the final stages of finishing. Krystol Broadcast chemically reacts with water and un-hydrated cement particles to form needle-shaped crystals that fill capillary pores and micro-cracks in the concrete and permanently block the pathways for water and waterborne contaminants. Any moisture introduced over the lifespan of the concrete will initiate crystallization, ensuring permanent waterproofing protection.

Krystol Broadcast is applied as a dry-shake and trowelled into the concrete during final finishing, where it penetrates deeply into the concrete mass. The dry broadcast method produces a smooth finished surface suitable for typical traffic or application of common floor finishes, and may be used for bridge decks, water containment structures, tunnels, etc.

Krystol Broadcast replaces the need for conventional membrane waterproofing systems, and is best suited for thick concrete slabs that will be power-troweled during finishing.

# General

## SECTION INCLUDES

### Dry-shake crystalline waterproofing surface treatment applied during final finishing of horizontal concrete surfaces.

## RELATED SECTIONS

### Section 03 30 00 - Cast-in-place Concrete: [Prepared concrete surfaces ready to receive finish].

### [Section 03 35 10 - Concrete Floor Finishing.]

### [Section 03 35 13 - High Tolerance Concrete Floor Finishing.]

### [Section 07 16 16 - Crystalline Waterproofing.]

### [Section 07 92 00 - Joint Sealants.]

## REFERENCES

### The following agencies and standards are applicable to this section.

#### American Concrete Institute (ACI)

#### American Society for Testing and Materials (ASTM)

#### British Standard Institution (BSI)

#### Canadian Standards Association (CSA)

#### German Institute for Standardization (DIN)

## PERFORMANCE REQUIREMENTS

### Permeability: When tested to BS EN 12390-8 or DIN 1048-5 at <0.5 MPa><<72.5 psi>> for 72 hours, permeability of treated concrete will be reduced by 60% over untreated concrete.

### Self-Sealing: Autogenous crack sealing of treated concrete for cracks with width of <0.5mm><<0.02 inches>> or greater; verified by independent testing.

## ADMINISTRATIVE REQUIREMENTS

### Pre-Installation Conference:

#### A meeting shall be held prior to placement of waterproofing treatment and concrete with the Contractor, forming contractor, finisher, waterproofing installer, and Owner’s testing agency and the Consultant in attendance.

#### Review the following:

##### Project requirements for placement, curing and waterproofing concrete as set out in Contract Documents.

##### Manufacturer's product data.

##### Applicable application instructions which focuses on this project's specific requirements.

##### Substrate conditions and procedures for substrate preparation and waterproofing installation.

### Coordination: Coordinate with concrete placement and concrete curing, and other work having a direct bearing on work of this section.

## SUBMITTALS FOR REVIEW

### Product Data: Manufacturer's product data and general recommendations for waterproofing applications.

### Independent Test Reports: Provide reports certifying compliance of waterproofing admixtures with specified performance requirements.

## SUBMITTALS FOR INFORMATION

### Installation Data: Manufacturer's special installation requirements.

### Qualification Statements:

#### Written notice from manufacturer confirming that the manufacturer conforms to the qualifications specified.

#### Written notice from manufacturer confirming manufacturing and project experience.

## CLOSEOUT SUBMITTALS

### Warranty Documents: Manufacturer's warranty documentation executed in the Owner’s name.

## QUALITY ASSURANCE

### Perform Work in accordance with [ACI 301][CSA-A23.1/A23.2].

### Source Quality Control: Obtain all waterproofing products from a single manufacturer, including jointing and leak repair products.

### Conform to [ACI 305R] [CSA-A23.1/A23.2] when concreting during hot weather.

### Conform to [ACI 306R] [CSA-A23.1/A23.2] when concreting during cold weather.

### Manufacturer:

#### Company specializing in manufacturing the Products specified in this section with minimum [twenty-five (25)] years [documented] experience.

### Installer:

#### Company specializing in performing the work of this section with minimum [three (3)] years documented experience.

## DELIVERY, STORAGE, AND PROTECTION

### Deliver packaged waterproofing admixture materials in original undamaged containers, with manufacturer's labels and seals intact.

### Store materials in dry environment at a temperature above <7 degrees C><<45 degrees F>>.

## PROJECT CONDITIONS

### Concrete Mix: Minimum Portland cement content shall in no case be less than <250 kg/m3><<420 lb./cu. yd.>>, with w/c ratio no greater than 0.5, and air content no greater than 3%.

## WARRANTY

### Manufacturer's Warranty: Provide warranty limited to waterproofing materials for a period of [ten (10)] years from date of Substantial Performance of the Work.

# Products

## MATERIALS

### Crystalline Waterproofing Surface Treatment: Surface-applied, dry shake crystalline waterproofing.

#### Shape of crystal: when observed under 30x magnification, crystal growth will be long and needle shaped, allowing crystals to grow deeper and pack more tightly.

#### Certifications: NSF/ANSI Standard 61 certified for use with potable water.

#### Product: Krystol Broadcast.

#### Manufacturer - Basis of Design:

##### Kryton International Inc.

##### Toll Free: 1.800.267.8280

##### E-mail: info@kryton.com

##### Website: www.kryton.com

### Substitutions: Not permitted.

## QUALITY CONTROL

### Application: Provide temporary colorant integral to the waterproofing treatment to permit visual verification of uniform distribution during Product placement.

# Execution

## EXAMINATION

### Verify that concrete surfaces are acceptable to receive the work of this section.

## CONCRETE FINISHING

### Finish concrete surfaces to [CSA-A23.1/A23.2] and [Section 03 35 10].

### Waterproofing broadcast can be applied during finishing after the concrete has reached its initial set and the bleed water has disappeared.

## INSTALLATION - WATERPROOFING

### Apply dry shake waterproofing to manufacturer's written instructions on concrete surfaces.

### Apply waterproofing by spreading onto the concrete surface just before finishing begins at a coverage rate of <1 kg/sq.m.><<0.2 lb/sq.ft.>>.

### Immediately begin power-floating to work the waterproofing into the surface.

### Do not add water.

### Curing:

#### Cure in accordance with [ACI 308.1][CSA-A23.1] guidelines.

#### Wet cure the concrete with a fog mist spray, sprinkler or wet burlap for 5 to 7 days. Protect from rain, excessive wind, and sun.

#### Alternatively, a curing compound conforming to ASTM C309 may be used.

## PROTECTION OF FINISHED WORK

### Section [01 78 40]: Protecting installed work.

### Protect completed waterproof assemblies from damage after application.

## SCHEDULES

The following article will assist in preparing a schedule when differing finishing criteria are required for the project. Edit the paragraphs below to create a schedule for the components specified in this section.

### [Pool Equipment Room #106: Provide waterproofing to all floor areas].

END OF SECTION

The preceding specifications are provided by Kryton International Inc. as a guide and are not intended to replace sound engineering practice and judgment and should not be relied upon for that purpose. Kryton makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications. Kryton assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such specifications. KRYTON SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS. The specifier, architect, engineer or design professional or contractor for any particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application. Prior to each use of any Kryton product, the user must always read and follow the warnings and instructions on the product’s most current Technical Data Sheet, Application Instruction, product label and Safety Data Sheet which are available online at <http://www.kryton.com> or by contacting an authorized Kryton Representative. Nothing contained in any Kryton document relieves the user of the obligation to read and follow the warnings and instruction for each Kryton product as set forth in the current literature prior to use.